Product Specifications

	FREON TANK

	SIZE

	2.5 Kilos Capacity green

	5 Kilos Capacity blue

	2.5 Kilos Capacity blue


	FILTER DRIER

	SIZE

	Drier 12 grams

	Drier # 006

	Drier # 007

	Drier # 008

	Drier # 420

	Drier # 421

	Drier # 422

	Drier # 423

	Drier # 424

	Copper/Aluminum accumulator 1-1


	GAUGE ADAPTOR FLARE BRASS

	SIZE

	5/8 Female x 1/2 Male 

	5/8 Female x 5/8 Male

	1/2 Female x 5/8 Male

	1/2 Female x 1/2 Male 

	1/2 Female x 3/8 Male

	3/8 Female x 3/8 Male

	3/8 Female x 5/16 Male


	FREON TANK ADAPTOR BRASS

	SIZE

	5/8 x 1/4 Male

	3/4 x 1/4 Male

	7/8 x 1/4 M-PALOOB

	7/8 x 3/8 M-PALOOB


	BULLET STRAINER COPPER TUBE

	SIZE

	1/4 x 1/8

	1/4 x 1/8 x 1/8

	3/8 x 1/8

	3/8 x 1/8 x 1/8

	3/8 x 1/8 x 1/8 x 1/8

	3/8 x 1/8 x 1/8 x 1/8 x 1/8

	1/4 x 1/4 x 1/8

	5/16 x 1/8

	5/16 x 1/8 x 1/8

	Carrier 1/8 x 1/4 x 5/16

	National 1/8 x 1/4


	SPLICER BRASS

	SIZE

	3/8

	1/2

	5/8


	UNION, FLARE BRASS 

	SIZE

	3/16

	1/4

	5/16

	3/8

	1/2

	5/8

	3/4


	FLARE NUT BRASS

	SIZE

	3/16

	1/4

	5/16

	3/8

	1/2

	5/8

	3/4


	O-RING SLEEVE BRASS

	SIZE

	5/16

	3/8

	1/2

	5/8


	O-RING, ADAPTOR BRASS

	SIZE

	1/2 Female x 1/2 Male 

	3/8 Female x 3/8 Male

	3/8 Female x 1/2 Male

	5/8 Female x 1/2 Male

	5/8 Female x 5/8 Male

	3/8 Female x 5/16 Male

	1/2 Female x 3/8 Male

	3/8 Female x 1/2 Male

	3/8 x 20mm x 1/2 x 22 x 1.5 


	ADAPTOR, GAUGE BRASS

	SIZE

	1/4 NPT x 1/4 Flare 

	3/8 NPT x 1/4 Flare

	1/8 NPT x 1/4 Flare


	UNION, SOLDER

	SIZE

	3/8

	1/2

	5/8


	NITROGEN ADAPTOR

	SIZE

	5/8 x 1/4


	HOSE CONNECTOR

	SIZE

	3/8 x 1/2

	3/8 x 3/8


	HALF UNION BRASS

	SIZE

	3/8 x 5/16

	5/16 x 1/4 NPT

	1/4 x 1/8 NPT

	1/4 x 1/4 NPT

	1/4 x 1/2 NPT

	1/4 x 3/8 NPT

	3/8 x 1/2 NPT

	1/2 x 1/2 NPT

	Aluminum 3/8 Flare

	Aluminum 1/2 Flare

	Aluminum 5/8 Flare

	Aluminum 5/16 Flare

	Aluminum 3/8 O-Ring

	Aluminum 5/8 O-Ring

	Aluminum 1/2 O-Ring


	FLARE  CAP & PLUG

	SIZE

	1/4


	COUPLING NUT

	SIZE

	5/16 x 5/16

	3/8 x 5/16


	UNION, REDUCER BRASS

	SIZE

	3/16 x 1/4

	5/16 x 1/4

	3/8 x 1/4

	1/2 x 1/4

	5/16 x 3/8

	1/2 x 3/8

	1/2 x 5/8

	5/8 x 3/4


	ACCESS VALVE

	SIZE

	Access valve


	ADAPTOR, FLARE BRASS

	SIZE

	1/2 x 1/4


